## Slide 1
PHMSA Western Region –
(What We Do and) Updates
Utah Pipeline Safety Seminar
September 17, 2019
Tom Finch

## Slide 2
OST
PHMSA
HMT
OPS
OIG
FHWA
FRA
FAA
SLSDC
NHTSA
MARAD
FMCSA
FTA
STB
Pipeline and Hazardous Materials Administration
U. S. Department of Transportation (DOT)

## Slide 4: Office of Pipeline Safety
Policy and Programs
Program Development
Standards and Rulemaking
Engineering and Research
State Programs
Enforcement
Training and Qualifications
Field Operations
Emergency Support and Security Response
Regional Offices
  Eastern
  Southern
  Central
  Southwest
  Western includes Alaska & Hawaii
- 3 -

## Slide 5: PHMSA Regional Offices
- 4 -
Notes: Presenter
2016-08-11 18:29:49
--------------------------------------------
Western Region Offices- Hazmat Office is based in Ontario, California; Pipeline Safety office is based in Lakewood, Colorado Southwestern Region Offices- Hazmat and Pipeline Offices based in Houston, Texas.
Central Region Offices- Hazmat office is based in Des Plaines, IL; Pipeline Safety Office is based in Kansas City, Missouri. Southern Region Offices- Hazmat and Pipeline Offices based in Atlanta, Georgia.
Eastern Region Offices- Hazmat and Pipeline Offices based in West Trenton, New Jersey.

## Slide 6: Our Mission
- 5 -

## Slide 7: The Challenges
Safety of 2.7 million miles of hazardous gas and liquid pipelines, which carry over 66% of the energy consumed in the US
Safety of nearly one million hazardous materials shipments daily by all modes – air, ground, marine, and rail
Promoting the safe, environmentally sensitive, and reliable delivery of energy products that fuel the U.S. economy and transportation systems, in addition to the chemicals and other hazardous materials essential to our way of life
Assuring economic mobility, efficiency and public confidence
Promoting transportation solutions that enhance communities and protect the natural environment
Effective stakeholder communication with federal and state agencies, pipeline operators, labor industry, response community and the public

## Slide 8
What Does PHMSA / Pipeline Safety Do?
Pipeline Safety
Identify and evaluate risks of pipeline systems
Develop inspection and enforcement standards for design, construction, operations, and maintenance of pipelines carrying hazardous gas and liquids
Response and investigation of pipeline accidents/incidents
Educate system operators, emergency responders and the general public
Conduct research on promising technologies and knowledge needed to improve standards
Provide grants to states in support of their pipeline safety programs – inspection/enforcement, damage prevention, public education
- 7 -

## Slide 9: Strategic Objectives
Reduce risk of serious pipeline incidents through use of strong risk-based integrity management approach
Sharpen focus on key risks using data
Develop solutions to detect/characterize these risks
Promote systematic management of risk through standards
Inspect and enforce integrity management standards
Build capacity of communities to carry out their respective roles in living safely with the energy pipelines

## Slide 10: Underlying Principles
It is the responsibility of pipeline operators to understand and manage the risks associated with their pipelines
PHMSA’s primary role is to establish minimum safety standards (defined by required risk control practices) and to ensure that operators perform to these standards
PHMSA also strives to impact operator performance beyond mere compliance with the regulations

## Slide 11: PHMSA Regulated Pipeline Facilities OPS and States
Liquefied Natural Gas 157 Plants, 230 Tanks, 87 Operators Plants - 26 Interstate and 131 Intrastate
Underground Natural Gas Storage 403 Facilities, 457 Reservoirs 17,422 Wells, 126 Operators Facilities - 222 Interstate and 181 Intrastate
Pipeline Facilities by System Type from CY 2018 Annual Reports |  |  | 
System Type | Miles | % Miles | # Operators
Hazardous Liquid | 218,289 8,231 Tanks | 8% | 525
Gas Transmission | 301,495 | 11% | 1,069
Gas Gathering | 17,878 | < 1% | 370
Gas Distribution | 2,238,468 | 81% | 1,355
Total Miles | 2,776,130
data as-of 7-2-2019

## Slide 12
What We are Trying to Prevent
11 -

## Slide 13
- 14 -

## Slide 14
LNG Plants Connected to Natural Gas Pipeline Systems
A Marine TemWlal • 1,.,rt T Marine TemWial • Export Q Marine Terminal • Bolh
* Salellte
D Mobile/Temporary
0 Peak Sha-Ang
*
* *
SC
0
0
..
0 250
-
Uqudld Nab.r• Gao (LNG) Pl•nt 081.11 SOurt»:CY201•- Repom ID PHMSA !Or ID -R-0 Pl--IlleNPMS os olA&!gu&12015,
U.S.Deportment ofTransportatlon
Pipeline and Hazardous Materials Safety Administration
To Protect People and the Environment From the Risks of Hazardous Materials Transportation
N
+
U.S.Cloponn-..111 o1Tra,.parwlon
P1j)elne& ­
M-lllOS81oly­
Alberl IA'Oj""11on
Map ProduO!d Augull 2015
.._..,
PR J
.._

## Slide 15: Not In it Alone
We partner with our States to enforce the Federal regulations.
10 of the 12 States in the PHMSA Western Region have pipeline safety programs
  AZ, CA, CO, ID, MT, NV, OR, UT, WA, and WY
inspect Intrastate natural gas pipelines
  AZ, CA, and WA inspect Intrastate petroleum pipelines
  AZ and WA help us do Interstate pipelines
States can add additional regulations for Intrastate pipelines

## Slide 16: How PHMSA Supports the State Pipeline Programs
PHMSA provides up to 80% funding of any State’s pipeline safety program
  Based on an annual Federal Audit of the program (Procedures, Field, and Records)
  Recently the average grant funding was approximately 74% of the states total program costs.
There was approximately $53 Million in Grant Money for the states last year.

## Slide 17
Chart: Pipeline Serious Incidents with Context Measures (1999-2018)
| 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018
Natural Gas Consumption (Index) | 1 | 1.0399 | 0.99403 | 1.0262 | 0.99657 | 1.0006 | 0.98499 | 0.97073 | 1.0329 | 1.0408 | 1.0221 | 1.0727 | 1.0893 | 1.1388 | 1.1701 | 1.1953 | 1.2306 | 1.2397 | 1.2237 | 1.3517
Petroleum Products consumption (Index) | 1 | 1.0112 | 1.0092 | 1.0102 | 1.0256 | 1.0637 | 1.0656 | 1.0529 | 1.0435 | 0.97457 | 0.92217 | 0.93687 | 0.91864 | 0.89779 | 0.91263 | 0.91962 | 0.93851 | 0.94748 | 0.95692 | 0.97733
Pipeline Mileage (Index) | 1 | 1.0139 | 1.032 | 1.0708 | 1.06 | 1.0776 | 1.0922 | 1.1177 | 1.1205 | 1.1454 | 1.152 | 1.1615 | 1.1705 | 1.1771 | 1.1853 | 1.1968 | 1.2099 | 1.2204 | 1.2277 | 1.2356
U.S. population (Index) | 1 | 1.0112 | 1.0213 | 1.0308 | 1.0397 | 1.0493 | 1.0591 | 1.0693 | 1.0795 | 1.0898 | 1.0994 | 1.1086 | 1.1166 | 1.1248 | 1.1327 | 1.141 | 1.1494 | 1.1578 | 1.1652 | 1.1725
Serious Incidents Index | 1 | 0.93939 | 0.60606 | 0.54545 | 0.92424 | 0.66667 | 0.57576 | 0.48485 | 0.63636 | 0.54545 | 0.69697 | 0.51515 | 0.4697 | 0.42424 | 0.36364 | 0.40909 | 0.39394 | 0.57576 | 0.34848 | 0.57576

## Slide 18
High Profile Accidents in PHMSA’s Western Region
1/17/15 – Bridger Pipeline’s Poplar Pipeline spills crude oil into the Yellowstone River near Glendive, MT
5/19/15 - Plains Pipeline L.P. Line 901 Crude Oil Release Santa Barbara, CA

## Slide 19
Poplar Pipeline Overview

## Slide 20: The Release
The Poplar Pipeline ruptured on Saturday January 17, 2015, spilling approximately 30,000 gallons of crude oil into the Yellowstone River.
Findings show that the pipe was exposed in the river following an ice dam event in 2014. This pipe exposure went undetected and the line failed due to water induced forces & vibrations.

## Slide 21: Yellowstone River Response Workers recovered a total of 1,722 gallons/41 BBLs of oil from the iced over river.

## Slide 22
Yellowstone River Near Glendive, MT

## Slide 23: Recovered Pipe April 8, 2015

## Slide 24
Plains Pipeline L.P.
May 19, 2015 Crude Oil Release Santa Barbara, California
Estimated spill size 1500 barrels.
Intense media coverage, and numerous oversight agencies at the Unified Command
Preliminary findings show extensive corrosion under insulation, inaccurate In Line Inspection (ILI) assessment, and no leak detection by the control room
Line is shut down & filled with Nitrogen

## Slide 25
Effectiveness of Cathodic Protection on Thermally Insulated Underground Metallic Structures
Item No. 24156
NACE International Publication 1OA392 (2006 Edition)
This Technical Committee Report has been prepared By NACE International Specific Technology Group 35* on Pipelines, Tanks, and Well Casings
Effectiveness of Cathodic Protection on Thermally Insulated Underground Metallic Structures
© September 2006, NACE International
*Chair Paul R. Nichols, Shell Global Solutions, Houston, Texas.

## Slide 26
Plains Pipeline, L.P.
Line 901 (Las Flores to Gaviota)
** Not to Scale
Shoreline
Pacific Ocean
Santa Barbara
El Capitan State Beach
Refugio State Beach
Gaviota State Park
Hwy 101
MOV2 Gaviota Creek
Gaviota Pump Station
Las Flores Pump Station
Affected Segment (~10.7 Miles)
To Bakersfield
Hwy 101
Failure Location
Venoco Tie-In
Spill Path
MOV 1 Refugio Creek
and Check Valve
Sisquoc Pump Station
Line 903 (127
Miles)
1st Anomaly dig (temporary clamp)
2nd and 3rd Anomaly digs w/n 50’ of each other
Temporary dual clamp and recoat
MOV 208
(~ MP .04 in station()Composite sleeve)
Flow Direction
MOV 109
(~ MP 10.7 in station)
Offshore Platforms: Hildago, Harvest, Hermosa (Freeport McMoRan)
Offshore Platform – Holly (Venoco)
Offshore Platforms: Hondo, Harmony, Heritage (ExxonMobil)
Created by: Dave Mulligan
4th Anomaly dig

## Slide 27
Release Site was ~ 25 feet uphill from Culvert

## Slide 28
Culvert Under Highway
and Railroad Tracks to the Pacific Ocean

## Slide 29
Takeaways from Recent Spills
Most States have a pipeline safety agency that can answer pipeline safety questions
  We share our findings with them so your leadership can get answers.
  Plenty of areas to collaborate.
Our staff can provide information about a release, spill investigation, recent pipeline inspection, or enforcement on lines not regulated by a State.

## Slide 30
Evaluate pipeline IAW API RP 80
Follow Part 192
for .class 1, 2, 3, or 4 Transmission lines
Transmission
Gathering
Pipeline is onshore
operates at < 0 psig.
Not Regulated
Pipeline within inlets of the Gulf of Mexico
Must comply with 192.612
Class 1
Per 192.5
Class 2
per 192.5
< 20% SMYS (metallic pipe)
< 125 psig (non-metallic pipe)
Offshore gathering lines
Type A
Must comply with 192 that is applicable to transmission lines but not 192.150 and Subpart
O. Class 2 (onshore) may use alternate method for
Subpart N
Type A
Must comply with 192 that is applicable to transmission lines (including Subpart N) but not 192.150 and
Subpart O
Type B Comply with 192.614,
192.616, 192.619,
192.707, and Subpart I for metallic pipelines
192.8(b)(1)(b)
+150 ft. x 1 mile
with >10 but <46 dwellings
192.8(b)(1)(c)
+150 ft. x 1000 ft.
with 5 or more dwellings
OR
OR
Yes
Yes
192.8(b)(2)
Safety buffer required
Not Regulated
Not Regulated
No
No
Type B
Comply with 192.614,
192.616, 192.619,
192.707, and Subpart I for metallic pipelines
Type B Comply with 192.614,
192.616, 192.619,
192.707, and Subpart I for metallic pipelines
Gas Gathering Lines – Part 192
Amdt. 192-102, 71 FR 13289, Mar. 15, 2006
Revised 12-29-2009
> 20% SMYS (metallic pipe) > 125 psig (non-metallic pipe | 
 | )
Class 3 & 4 Per 192.5 | 
> 20% SMYS (metallic pipe) > 125 psig (non-metallic pipe | 
 | )
< 20% SMYS (metallic pipe) < 125 psig (non-metallic pipe | 
 | )
192.8(b)(1)(a) Class 2 per 192.5 | Yes

## Slide 31: Community Liaisons Responsibilities
Serve as designated PHMSA representatives before a wide variety of stakeholders.
Participate with state and regional damage prevention groups and the Common Ground Alliance to further the implementation of damage prevention best practices.
Help states assess their damage prevention programs and opportunities.
Routinely provide informational presentations to various stakeholder groups to broaden public awareness of our country’s energy transportation pipeline systems.
Meet with federal, state and local regulatory agencies, and pipeline operators to facilitate timely issuance of permits necessary for conducting pipeline integrity activities.
Provide consultation to regulators, regulated parties and other stakeholders regarding new and amended regulatory requirements.
Respond to public inquiries and complaints regarding pipelines and pipeline operations.

## Slide 32: Community Liaison Points of Contact
Tom Finch Community Liaison
thomas.finch@dot.gov
Phone: (303) 807-7200
Dave Mulligan Community Liaison
david.mulligan@dot.gov
Phone: (720) 963-3193

## Slide 33
Important Links
PHMSA, Office of Pipeline Safety
  www.phmsa.dot.gov/pipeline
Standards & Rulemaking
  http://www.phmsa.dot.gov/pipeline/regs
National Pipeline Mapping System
  www.npms.phmsa.dot.gov
PHMSA’s Stakeholder Communications Site
  http://primis.phmsa.dot.gov/comm
Access to PHMSA Regulations (Easy to read/print 49 CFR Part 190-199)
  www.phmsa.dot.gov/pipeline
- Click on “Training and Qualifications”
Click on “Regulatory Information”
Click on the Part you want
For Federal Regulations (Official Version)
– www.regulations.gov

## Slide 34
One easy call gets your utility lines marked
and helps protect you frominjury and expense.
Safe Digging s No Accident Always Call 811Before You Dig
Visit oall811.oom for moreinfonnation.
Knowwmrt's below.
Callbeforeyou dg.
To Protect People andthe Environment From the Risks of Hazardous Materials Transportation
U.S.Deportment of Transportation
Plpellne and Hazardous Materials Safety Administration

## Slide 35: Questions?
Thank You
Tom Finch
Community Liaison
thomas.finch@dot.gov Phone: (303) 807-7200

## Slide 36: Bonus Slides

## Slide 37: Categories of Incident Reports
Serious – fatality or injury requiring in-patient hospitalization, but Fire First are excluded. Fire First are gas distribution incidents with a cause of “Other Outside Force Damage” and sub-cause of “Nearby Industrial, Man-made, or Other Fire/Explosion”
Significant include any of the following, but Fire First are excluded: 1. Fatality or injury requiring in-patient hospitalization 2. $50,000 or more in total costs, measured in 1984 dollars 3. Highly volatile liquid (HVL) releases of 5 barrels or more 4. Non-HVL liquid releases of 50 barrels or more 5. Liquid releases resulting in an unintentional fire or explosion

## Slide 38: Designing Safety Regulations for High-Hazard Industries

## Slide 39: Task
Compare the advantages and disadvantages of prescriptive- and performance-based safety regulation and identify possible opportunities for, and constraints on, making greater use of the latter.

## Slide 40: Implications for PHMSA and Other Regulators of High-Hazard Industries
Use of macro-level regulations like IM may be advantageous when sources of risk are complex and context-specific, as characteristic of low-frequency, high-consequence events.
These regulations can serve a valuable purpose by addressing risks that cannot be controlled by highly targeted micro-level regulatory interventions. They can augment micro-level regulations
But regulators must take into account their ability to enforce, motivate, and support acceptable levels of compliance

## Slide 41: Summary Assessment
Too much emphasis is placed on simplistic and often misconstrued lists of generic advantages and disadvantages of types of regulations.
The regulator will want to choose a design that is suited to the nature of the problem and the characteristics of the regulated industry, as well as the regulator’s capacity to promote and enforce compliance.
Regulators should consider whether the best approach to achieving their regulatory goals may be to combine various regulatory approaches.

## Slide 42: Questions?
Thank You
Tom Finch
Community Liaison
thomas.finch@dot.gov Phone: (303) 807-7200